# Sterile Eyewash-Topical Irrigation Solution

# Identification

## Product Code Description

7912 Eye care solutions irrigation solution sterile

4002 Irripod Topical Irrigation Solution Sterile

2404061 20ml Astroplast sterile saline pods (Case 36 x box 25)

2404084 20ml Astroplast sterile saline pods (Box 25) (96891-0001)

2405006 20ml Astroplast sterile saline pods (Box 25)

2405012 20ml Astroplast clipped twist n pull saline eye wash pods (Box 25)

2405095 20ml Astroplast Twist N Pull Sterile Saline Pods (Case 30 x Box 25) (13348) (543391)

2404096 5ml Astroplast ultra saline eye wash pods (case 50) (10206) (569388)

2405099 20ml Astroplast Sterile Saline Pods (Box 25) INNOVATIVE SAFETY SUPPLY

2405013 5ml Astroplast ultra saline eye wash pods (Box 10)

5362 Alvita sterile saline pods

## Identified use of the substance

* Eye wash is recommended for rinsing foreign bodies (such as dust, dirt, metal and wood splinters) and (chemicals such as solvents and oil) from the eyes.
* Position container above the eye and gently squeeze so that the fluid flows freely across the eye towards the outer corner.

# Classification

* Class 2a Sterile, according to Rule 5 of Annex IX, MDD93/42/EEC
* Not a hazardous substance or mixture according to regulation (EC)No. 1272/2008

# Sterilisation

* Filtration

# Information on ingredients

Component % CAS # EC # REACH Reg. No.

Sodium Chloride 0.9 7647-14-5 231-598-3 N/A

# First Aid Measures

N/A

## Indication of any immediate Medical attention and Special treatment

N/A

# Extinguishing Media

Only the packaging may cause a fire, in the event of a large fire breathing apparatus to be worn.

* Suitable extinguishing media: Foam. Dry powder. Carbon dioxide. Water spray. Sand.
* Unsuitable extinguishing media: Do not use a heavy water stream.

# Accidental Release

N/A

# Handling and Storage

* Keep out of children’s reach
* To be stored between 2°C- 30°C

# Appearance

* Sterile Saline irrigation is a clear colourless solution

# Stability

* Product is stable

# Disposal

* Saline solution can be poured into any drain

# Transportation

* The product is not Hazardous for transport purposes